{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":3,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":60,"n_cols":13,"rows_kept":60,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["LOT nr","amount","manufacturer","AS megnevezés","azonosító","type","serial nr./chassis nr.","állapot","year ","title HU","title UK","description UK","Eszközazonosító"]
[68,1,"Nova Biomedical","Nova Stat Profile CCX1 vérgázanalizátor (demo)","Y02603181","CCX","YO2603181","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser","all in one analyser",534666]
[69,1,"Nova Biomedical","Cooxy hemoximéter (demo )","R0139920","COOX","RO 139920","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,528860]
[70,1,"Nova Biomedical","Nova Stat Profile pHOx Plus (demo)","ULL806080","PHOX PLUS L/Nova Stat Profile pHOx Plus L (demo)","ULL806080","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,484009]
[71,1,"Nova Biomedical","Phox Plusz vérgázanalizátor (demo )","U02C04040","PHOX PLUS","UO2C04040","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,528855]
[72,1,"Nova Biomedical","Nova Stat Profile pHOx Plus (demo)","U02C05060","PHOX PLUS/Nova Stat Profile pHOx Plus (demo)","UO2C5060","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,484005]
[73,1,"Nova Biomedical","Nova Stat Profile pHOx Plus (demo)"," U02703070","PHOX PLUS","UO2703070","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,470914]
[74,1,"Nova Biomedical","Nova Stat Profile pHOx Plus (demo)","U02C04090; ","PHOX PLUS","UO2C040090","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,470914]
[75,1,"Nova Biomedical","NOVA Stat Profile pHOx vérgáz analizátor","U01C98540","PHOX/NOVA Stat Profile pHOx vérgáz analizátor","UO1C98540","működése bizonytalan",null,"klinikai analizáló berendezés","clinical analyser",null,440207]
[77,1,"Ardo Medical ","Storz Unimat szívó-pumpa tartozékokkal",1020249,"Unimat30",1020249,"műanyag tartály hiányzik",null,"szívópumpa","suction pump","without plastic container unit",1490167]
[78,1,"Tensio Clinic","TensioMed Arteriográf","06/TL0026",null,"06/TL0026, CNU5490NXT","mandzsetták, HP számítógép, digitális kijelző  egység",2006,"arteriográf","arteriograph","armbabnds. HP notebook, digital screen",520266]
[78,1,"HP ","HP Pentium 4 Notebook infraporttal","CNU5490NXT",null,null,"működése bizonytalan",{"$nulls":4},520269]
[78,1,"Tensio Clinic","TensioMed Arteriográf","06/TL0095",null,"06/TL 0095","mandzsetták, HP számítógép, digitális kijelző ",2006,"arteriográf","arteriograph set","armbands, HP notebook, digital screen ",543128]
[79,1,"Innomed","Sonomat 3000","BEC002","Sonomat 3000",null,"220V, 50HZ, 40V/A, hiányos",null,"szonoterápiás készülék","sonotherapy treatment unit","220V, 50HZ, 40V/A, incompleat",6722]
[80,1,"Innomed","Sonomat 3000","BEC0006","Sonomat 3000",null,"220V, 50HZ, 40V/A, hiányos",null,"szonoterápiás készülék","sonotherapy treatment unit","220V, 50HZ, 40V/A, incompleat",6722]
[81,1,"Innomed","Sonomat 3000",92001,"Sonomat 3000",null,"220V, 50HZ, 40V/A, hiányos",null,"szonoterápiás készülék","sonotherapy treatment unit","220V, 50HZ, 40V/A, incompleat",6722]
[82,1,null,"Diplomat Economy fogászati kezelőegység",null,null,null,"1db vizsgálószék,1db fogászati lámpa, 1db kezelőegység, hiányos",null,"fogászati berendezés","dental furniture","1pc patient chair, 1pc dental reflector, 1 unit for dental instuments, incompleat",516595]
[83,1,"Rexmed Industries",null,null,"RSL-103",10308003,"vizsgáló asztallal, hiányos, működése bizonytalan",2008,"szemvizsgáló berendezés","slitlamp","with manual table",981969]
[84,1,"Huvitz",null,null,"MRK-3100 Premium","3MK8B1102","magas felbontású 5,5 monitor, SPH: -25D - +22D; CYL: -10D - +10D",null,"autómata keratorefraktométer","auto refractor/keratometer","high resolution 5,5 monitor,          SPH Power: -25D - +22D\nCYL Power: -10D - +10D\n",981971]
[85,1,"AMP","AMP vérkép analizátor","3640.12.61",null,"36040 12.61","ACER - ICL 50 hordozható számítógép",null,"vérkép és metabolit analizáló rendszer","non-invasive blood analyzer system","ACER -ICL 50 notebook",1200414]
[86,1,"Shenzhen Biomedical",null,null,"DC-6","MJ 85100061",0,2006,"ultrahangos vizsgáló berendezés+ tartozékok","ultrasound system",null,998528]
[87,1,"Shenzhen Biomedical",null,null,"DC-6","MJ 85100065",0,2006,"ultrahangos vizsgáló  berendezés+ tartozékok","ultrasound system",null,998528]
[90,1,null,"Real HI-T digitális diagnosztikai rendszer","1244, LXT560532150909BCAEM13",null,null,"működése bizonytalan",{"$nulls":4},312337]
[90,1,"Tensio Clinic","TensioMed Arteriográf, ","06/TL0116,  LXT560532150909BCAEM13",null,null,"mandzsetták, HP számítógép, digitális kijelző ",2006,"arteriográf","arteriograph set","armbands, HP notebook, digital screen ",625167]
[90,1,"HP","HP Pentium 4 Notebook(infraporttal), ",73101117116,null,null,"működése bizonytalan",{"$nulls":4},625227]
[91,1,"AMP","AMP vérkép és metabolit analizátor",null,null,"K3623","működése bizonytalan",null,"vérkép és metabolit analizáló rendszer","non-invasive blood analyzer system",null,508613]
[92,1,"Dandong Haihua","MagneVit Reflex CD-9 duplamágneses magnetoelektro-akupunktúrás készülé",null,"CD-9",5803158,"működése bizonytalan",null,"magneto elektro akkupunktúrás készülék","diagnosis and treatment apparatus",null,498719]
[93,1,"Medtronik","OXI MED oxidatív stresszmérő készülék","16.0607.0063","OXI MED","16.06.07.0063","működése bizonytalan",2006,"stressz analizáló berendezés","stress  analyser",null,625128]
[94,1,null,"CF-140 L colonoscope",2910235,null,null,"működése bizonytalan",{"$nulls":4},484057]
[94,1,"Olympus 2 db gastro 714/715 ","Video-Gasztroszkóp",714,null,null,"hiányos, törött",null,"gyomortükröző berendezés/gasztroszkóp","gastroscope (3pcs)","incomplete, damaged",1479516]
[94,1,null,"Video-Gasztroszkóp",715,null,null,"működése bizonytalan",{"$nulls":4},1479665]
[95,1,"1 db Colonoskop 13904 PKS, 2 db gastroscop SN418, SN711","1 dbVideo-Gasztroszkóp tartozékokkal , Colonoscop tartozékokkal 2 db",711,"SN418, 13904 PKS, SN711",null,"hiányos, törött",null,"gyomortükröző berendezés/gasztroszkóp (3db)","gastroscope (3pcs)","incomplete, damaged",1471364]
[95,1,null,"Colonoscop tartozékokkal",410,null,null,"működése bizonytalan",{"$nulls":4},1471367]
[95,1,null,"Colonoscop tartozékokkal ",418,null,null,"működése bizonytalan",{"$nulls":4},1479517]
[96,1,null,"PCF-140L colonoscope",2812979,null,null,"működése bizonytalan",{"$nulls":4},484058]
[96,1,"NN","Storz Video-gasztroszkóp 13801 PKS tartozékokkal ",1720,"13801PKS",null,"hiányos, törött",null,"gyomortükröző berendezés/gasztroszkóp (2pcs) és 1 db colonoscop","gastroscope (2pcs)","incomplete, damaged",1490114]
[96,1,null,"Storz Video-gasztroszkóp 13801 PKS tartozékokkal ",2260,null,null,"működése bizonytalan",{"$nulls":4},1490115]
[97,1,null,"Video-Gasztroszkóp tartozékokkal",710,null,null,"működése bizonytalan",{"$nulls":4},1471363]
[97,1,"Storz Endoscope 2 db Colono +1 db gasztro","Storz Colonoscop 13905 PKS tartozékokkal",1730,null,"13905PKS, 13801PKS","hiányos, törött",null,"gyomortüktöző berendezés","gastroscope (3pcs)","incomplete, damaged",1490112]
[97,1,null,"Storz Colonoscop 13905 PKS tartozékokkal",2440,null,null,"működése bizonytalan",{"$nulls":4},1490113]
[98,1,null,"Uretero-Fiberscop és tartozékai",2041282,null,null,"működése bizonytalan",{"$nulls":4},1453721]
[98,1,"Storz Endoscope","Uretero-Fiberscop és tartozékai",2048507,"Flex X"," 2064639S","270°/270°, 7.5 Fr; 67cm, hiányos, törött",null,"urológiai endoszkóp","urological fiberscope (4pcs)","distal tip 270°/270°,7.5 Fr., working length 67 cm, incompleat, damaged",1453722]
[98,1,null,"Uretero-Fiberscop ",2038869,null,null,"270°/270°, 7.5 Fr; 67cm, hiányos, törött",{"$nulls":4},1477560]
[98,1,null,"Uretero-Fiberscop",2044922,null,null,"270°/270°, 7.5 Fr; 67cm, hiányos, törött",{"$nulls":4},1477561]
[100,1,"Jinshan Science Technology","OMOM Kapszulás Endoszkóp rendszer (demo)","JST0712SHU01","JS-MER-II","JST0712SHU01",0,null,"felvétel készítő tartozék, gasztoenerológiai kapszulához","image recorder integrated vest for endoscopy capsule",null,761950]
[101,1,"Storz Endoscope","Gördíthető készülékállvány","29003BH","29005GI","NZ1088B","156x43x73cm, lemez",null,"mobil műszerkocsi","mobile equipment trolley","156x43x73cm, steel ",1471373]
[102,1,"NN","Storz Üvegszálas fénykábel",12013,null,null,"működése bizonytalan",null,"fényvezető  kábel","light fiber",null,1493612]
[103,1,"Storz Endoscope","Telecam SL II","BB647969-P",20213011,"BB647969-P","hiányos",null,"kamera vezérlő egység","camera controll unit","Telecam SL II, PAL/NTSC",1471371]
[104,1,"Storz Endoscope","Xenon 100 hidegfényforrás","NZ 2448-C",20132501,"NZ2448-C","hiányos",null,"fényforrás vezérlő egység/Xenon 100 hidegfényforrás","light source unit",null,1471368]
[105,1,"Storz Endoscope","Storz Xenon 300 hidegfény forrás tartozékokkal","PZ 0660640, LB 15044","Xenon 300/20133120","LB15044","hiányos",null,"xenon fényforrás vezérlő egység","xenon light source unit",null,1493611]
[107,1,"Owandy","Digitális röntgen szenzor rendszer Wi-Fi változat, Digitális röntgen szenzor rendszer","OWKRISWIFITLK7044, OWDSX730CG70","DSX 730",null,"fogászati eszköz",null,"digitális röntgen ","digital X-ray sensor","dental equipment","473692, 473695"]
[110,1,null,"15\" Flat Screen EndoVue","08-86614",null,null,"működése bizonytalan",{"$nulls":4},1479523]
[110,1,"Storz Endoscope","Storz Gördíthető készülékállvány tartozékokkal","NZ 1087B","Smartcart","NZ1088B/87B",0,null,"mobile műszerkocsi ","mobile equipment cart",null,1490170]
[111,1,"Philips","Storz 15\" Flat Screen EndoVue tartozékokkal"," 08-85112, 9415NN","Brillance 150 P",null,0,null,"LCD monitor","LCD monitor",null,1471374]
[111,1,null,"Storz 15\" Flat Screen EndoVue tartozékokkal","10-153226",null,null,"működése bizonytalan",{"$nulls":4},1490171]
[112,1,"Stotz Endoscope","Storz Telecam SL II tartozékokkal","PZ 670210-P","Telecam SL  pal",20212020,"hiányos",null,"kamera vezérlő egység","camera controll unit",null,1490168]
[115,1,"Storz Endoscope",null,null,"SCB Calculase 27750120","IB 1223","Ho: YAG: 2080nm; PILOT: 635nm, hiányos",null,"lézerforrás egység","holmium laser unit","Ho: YAG: 2080nm; PILOT: 635nm",1477559]
[116,1,"Storz Endoscope",null,null,"SCB Calculase 27750120","IB 9322","Ho: YAG: 2080nm; PILOT: 635nm, hiányos",null,"lézerforrás egység","holmium laser unit","Ho: YAG: 2080nm; PILOT: 635nm",1477558]
[118,1,"Storz Endoscope","Storz OR1 műtőrendszer tartozékokkal",41404985,"Aida Control Neo 200461 20","KSK20300","hiányos",null,"digitális kontroll egység","digital control device",null,1490111]
[120,1,"Storz Endoscope","Storz Xenon 100 hidegfényforrás tartozékokkal","KA1059","SCB Xenon 100",20132620,"hiányos",null,"hideg fényforrás vezérlő ","cold light fountain",null,1490166]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}